Accu-Chek Inform II System | Student Skills Checklist

User Assembles Equipment

Accu-chek Inform II system                                                                                                              Blood sample collection material

Accu-chek Inform II Test strips                                                                                                           Gauze pad or cotton balls

Accu-chek Inform II glucose controls solutions                                                                               Lancet/soft click, gloves

Routine Testing Procedure

- Wash hands

- Glove

- Gather supplies

- Clean patients finger with soap & water, alcohol pad or appropriate cleaning solution and wipe dry with gauze

- Press Power On button (Purple button)

- Scan operator ID (Emp  No.)

- Press Patient Test

- Scan barcode on patient’s armband

- Answer Patient ID  prompt- Yes or No

- Scan barcode on side of strips

- Remove test strip from vial and recap vial

- Insert strip into opening - yellow window up

- Perform finger puncture

  - Wipe away 1st drop

  - Apply drop of blood to end of strip

  - Read results

  - Enter one comment

- Accept Result

(result will upload to patient’s EHR)

- Reject result

(result will not upload to patient’s

EHR)

- Press check mark to return to patient screen

- Press purple button to turn meter off

- Throw away supplies

- Clean meter with Sani-Clothes wipe

- De-glove while meter dries

- Wash hands

- Dock meter

User PRINT NAME:_________________________________    Trainer Signature:_______________________________

User Cerner Log in ID: _______________________  School: _________________________   Date:________________

Instructor E-mail:________________________@_______________________   Last day of Class:_________________

Send completed form to Deb Mason, PMC Laboratory | fax: 760.233.7840 | debra.mason@pph.org

Quality Control

- Understand that quality control is done 24h or when “QC Due: Immediately appears in the window”

- Lab replaces Controls every 3 months

- Discard test strips at expiration date on vial

- Perform QC like patient test

- Enter 2 comments after every QC

- Accept Result

- CLEAN METER

- Repeat QC test 1x if test FAILS

- Return meter to lab if QC test FAILS 2x

- Understand that every nurse must do one QC test annually for QC competency

Cleaning Meter

- Clean meter with Sani-Cloth wipe after 
every patient test

- Clean window with dry cloth only

Battery

- Understand that the battery recharges in the base

Reviewing results

- Press power button on

- Scan operator ID (Emp No.)

- Press Review Results

- Press up and down arrows to display

- Select patient’s FIN# to view that patient’s results

- Select ALL to view All results

- Select QC to view only QC results

Extra Notes

- Know that Critical High >400 mg/dL or Critical Low <40 mg/dL glucoses are confirmed with a   lab correlation every 8 hours

- Know that every “HI” POCT is confirmed with a Lab draw and serum glucose

C:\Users\32002\Desktop\Accucheck Student Checklist.docx            POCT 2016